## Sheet1
Daily Consumption Report
Report Date | Apr 13, 2026 (Mon)
Report Cycletime | 00:15
Report Generated At | Apr 14, 2026 (Tue)
Report Generated By | Auto
S. No. | Feeder Name | Feeder Code | Zone Name | Zone Code | Daily Consumption (kWh) | Daily Consumption (kVAh) | Daily Power Factor (pf) | Daily Average Consumption (kWh) | Daily Average Consumption (kVAh) | Monthly Consumption (kWh) | Monthly Consumption (kVAh) | Monthly Power Factor (pf) | Maximum of Total Active Power (kW) | Maximum of Average Current (A) | Last 30 Day Consumption (kWh) (Working) | Last 30 Day Consumption (kWh) (Non-Working)
1 | DUMMY MAIN | DD001 | NA | NA | 2823.00 | 3323.00 | 0.850 | 6241.92 | 7090.33 | 74903.00 | 85084.00 | 0.880 | Data not available* | Data not available* | 71134.00 | 6418.00
2 | MAIN PANEL | MP1001 | NA | NA | Data not available* | Data not available* | Data not available* | 3369.08 | 3710.58 | 40429.00 | 44527.00 | 0.908 | Data not available* | Data not available* | 39774.00 | 655.00
3 | HYD PANEL | 1281 | NA | NA | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available* | Data not available*
4 | INOX WIND | INOXWIND | NA | NA | 397.00 | 469.00 | 0.846 | 4332.50 | 4791.83 | 51990.00 | 57502.00 | 0.904 | 24.64 | 29.61 | 51168.00 | 822.00
5 | MAIN P | 12345678901234 | 12234556677888567688897 45353 | 1234567890 | 402.00 | 475.00 | 0.846 | 222.75 | 262.25 | 2673.00 | 3147.00 | 0.849 | 24.54 | 29.96 | 2262.00 | 411.00
6 | TATA | D0015 | NA | NA | 410.00 | 477.00 | 0.860 | 411.00 | 483.25 | 4932.00 | 5799.00 | 0.850 | 25.62 | 30.09 | 9114.00 | 1139.00
7 | FD HEAD | D0012 | CRIMPING | P02CRP001 | 406.00 | 476.00 | 0.853 | 410.33 | 482.50 | 4924.00 | 5790.00 | 0.850 | 23.95 | 30.05 | 9113.00 | 1145.00
8 | FD HEAD LAMP LINE 23 | D0001 | COGULATION | P02COG001 | 398.00 | 477.00 | 0.834 | 819.81 | 965.86 | 9837.67 | 11590.36 | 0.849 | 22.76 | 30.08 | 17800.33 | 2714.27
9 | FD HEAD LAMP LINE 31 | D0021 | TESTING | P02TST001 | 408.00 | 475.00 | 0.859 | 412.33 | 483.75 | 4948.00 | 5805.00 | 0.852 | 24.47 | 29.98 | 9119.00 | 1156.00
10 | FD HEAD4 | D0011 | CLIPPING | PO2CLP001 | 401.00 | 473.00 | 0.848 | 410.58 | 482.83 | 4927.00 | 5794.00 | 0.850 | 24.66 | 29.83 | 12204.00 | 819.00
11 | FD HEAD4 | D0004 | ASSEMBLY | P02AS001 | 398.00 | 472.00 | 0.843 | 943.13 | 1110.43 | 11317.52 | 13325.11 | 0.849 | 24.13 | 29.80 | 20470.66 | 3169.51
12 | P02 MAIN PANEL | P02MSWIL2134 | NA | NA | 406.00 | 476.00 | 0.853 | 409.25 | 482.25 | 4911.00 | 5787.00 | 0.849 | 23.94 | 30.07 | 4255.00 | 820.00
13 | TESTING INCOMER | D0033 | NA | NA | 406.00 | 474.00 | 0.857 | 411.17 | 482.33 | 4934.00 | 5788.00 | 0.852 | 24.74 | 29.90 | 7688.00 | 1151.00
Note: Troubleshooting Steps for Data not available*
1. Please check Network Strength and Data Pack availability in the inserted SIM card.
2. Please check the Power Supply to the Modem and Meter/Sensor.
3. Please check the connection between Meter/Sensor and Modem.
4. Please check the display of the Meter/Sensor (Meter/Sensor malfunction).